## Slide 1: Virtuális valóság - „analóg érzés” digitális oszcilloszkóppal
ART DSO DPO
(1950) (1972) (1998)

## Slide 2: ART vs. DSO
Analog Real-Time Digital Storage (Sampling) Oscilloscope
direct signal path
(limited writing speed)
adjunct function to capture;
extensive manipulation

## Slide 3: ART vs. DSO
ANALOG for
high update speed and “infinite” resolution
assessing the relative frequency
and speed of complex data streams
troubleshooting modulated signal phenomena
DIGITAL for
signal measurement, analysis, mask testing, storage,
communication and hard-copy
pretrigger information
capturing glitches or spikes
viewing low-repetitive or single-shot waveforms

## Slide 4: ART vs. DSO
intensity variations,
large amount of detail
raster-scan display (vector OFF)
uniform intensity,
limited number of pixels

## Slide 5: “CombiScope” (Fluke)
vector display

## Slide 6: DSO: connect-the-dot
visual aliasing

## Slide 7: max/min (peak) detect
… display decimation (1-in-N)
… minimize aliasing
Data Frame

## Slide 8: data points vs. pixels
max-min method of data-compression (simple process):
intelligent, low-loss data-compression (statistical composition):
maps display intensity
to the local density
of data points

## Slide 9: square wave / rising edge / ringing
Histogram of the jitter
Color-graded persistence
bright
low
intensity
highlights
activity

## Slide 10: “Color-graded display” (Agilent)
3-D statistical data base
(“digital phosphor”)

## Slide 11: “Color-graded display” (Agilent)
standard persistence
(pixels “age” digitally)
color-graded persistence
(pixels don’t age, but ...)

## Slide 12: “TruTrace” (Gould)
modulated signal
conventional DSO

## Slide 13: “TruTrace” (Gould)

## Slide 14: “All-points display” (Yokogawa)

## Slide 15: “All-points display” (Yokogawa)
(*)
(*)

## Slide 16: “Analog persistence” (LeCroy)
analog persistence
(intensity-graded)
color-graded persistence
(with histogram)

## Slide 17: “Analog persistence” (LeCroy)

## Slide 18: “Analog persistence” (LeCroy)
metastable
states

## Slide 19: “Analog persistence” (LeCroy)
constellation
diagram
(XYZ mode)
Note:
XYZ mode is a
traditional strength
of the ART