## Slide 1: DPO (Tektronix - Scopes’r’Us)
“InstaVu” capture mode
(2-D: 1-bit-deep pixel map - 1994)
DPO integrates fast capture and update rate with intensity grading
(Tek has elected not to make “DPO” a trademark)
(3-D)

## Slide 2: “InstaVu” (TruCapture - Tektronix)
DSO holdoff: 8 ms
2 us

## Slide 3: DPO (Tektronix)

## Slide 4: DPO (Tektronix)
histogram
analysis
timing
distribution

## Slide 5: DPO (Tektronix)
real-time intensity grading in grayscale
— like an ART
color grading improves contrast
between frequencies of occurrence boundaries

## Slide 6: DPO (Tektronix)
modulation effects on
power supply control loop
modulated carrier

## Slide 7: DPO (Tektronix)
WaveAlert is a
direct offshoot of DPO.
Waveform
anomaly detection
alerts you to
any waveform
that deviates from
the "normal" input.
(TDS 3000B)

## Slide 8: DPO (Tektronix)
The combination of DPO
waveform throughput and
hardware assisted mask
testing results in
breakthrough test speeds
for mask testing
on single and multiple
channel devices.
(TDS 3000B
TDS3TMT Module)

## Slide 9: DPO (Tektronix)
Digital phosphor (3-D database) can be exported to your PC.
(The 3-D contour plot gives you an instant view of the data;
frequent events are dramatically emphasized by height and color.)

## Slide 10
“WAVEFORMs are fine,
but as product complexity grows,
they do less and less to explain
SYSTEM BEHAVIOR”.
Benchtop DSOs with Windows PC’s inside
(Agilent; Tektronix, Gould)
vs.
HiSpeed Digitizers module in PC
(custom DSOlike system)
“The OSCILLOSCOPE is
a natural center of vital information
during the development process”.
‘Information anywhere’ approach:
Oscilloscopes plug
into the Internet